## Sheet2 _ALL Interfaces
PCM 1.4.8 case flows
Legend |  |  | Date | 2030-07-30 | 2030-12-10 | 2030-02-01 | 2030-07-20 | 2030-09-29 | 2030-03-10 | 2030-04-03 | 2030-06-04
Red | Tune PF case within 2.5% of PCM 1.4.8 value |  | Hour (Ending) | 16 | 19 | 1 | 17 | 1 | 15 | 11 | 18
Orange | Tune PF case within 5% preferred, 10% acceptable |  | Month | 7 | 12 | 2 | 7 | 9 | 3 | 4 | 6
Flows <5% of path rating considered negligible (low flow condition causes the % comparison calculation to lose meaning - for example, comparing 1 MW to 5 MW is a 500% increase) |  |  | DateTime (with hour starting) | 2030-07-30 15:00 | 2030-12-10 18:00 | 2030-02-01 | 2030-07-20 16:00 | 2030-09-29 | 2030-03-10 14:00 | 2030-04-03 10:00 | 2030-06-04 17:00
|  |  | Description | Heavy Sumer | Heavy Winter | WY wind | ID-NW | Borah West | COI S-N | WOCN / WOCS | High Hydro
| Any case focus? | Paths of interest in NG region? (Kishore original sheet 3 summary) | Major NG path for tuning check | Case 1 | Case 2 | Case 3 | Case 4 | Case 5 | Case 6 | Case 7 | Case 8
P01 WECC ALBERTA-BRITISH COLUMBI |  |  |  | -626.6337 | -955.7453 | 55.7707 | -534.8529 | 49.9617 | -665.6395 | -1033.6831 | -224.5131
P02 WECC ALBERTA-SASKATCHEWAN |  |  |  | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
P03 WECC EAST SIDE NW-BC |  |  |  | -199.9989 | -200.2843 | 200.0006 | -199.998 | -86.3724 | 196.9476 | 200.0005 | 200.0011
P03 WECC NORTHWEST-BRITISH COLUM |  | YES | YES | -2169.23 | -1333.4574 | -230.0752 | -1635.1324 | -458.644 | 963.8583 | 1158.1495 | 166.7997
P03 WECC WEST SIDE NW-BC |  |  |  | -1969.2312 | -1133.1741 | -430.0761 | -1435.1346 | -372.2718 | 766.9102 | 958.1486 | -33.2017
P04 WECC WEST OF CASCADES-NORTH | Case 7 | YES | YES | 3790.7153 | 5349.3564 | 3311.686 | 3483.3184 | 2009.5042 | 5438.6318 | 7244.1567 | 5373.6782
P05 WECC WEST OF CASCADES-SOUTH | Case 7 | YES | YES | 3821.5332 | 4324.0762 | 3216.0698 | 3524.4114 | 2502.8669 | 4554.748 | 5399.8389 | 3770.0737
P06 WECC WEST OF HATWAI |  | YES |  | 659.5331 | 187.6627 | 1198.5586 | 207.4962 | 1963.2888 | -615.8552 | -1359.7087 | -28.7805
P08 WECC MONTANA TO NORTHWEST | Case 5 | YES | YES | 317.5055 | 518.0737 | 1726.4027 | 37.5321 | 2015.8533 | 481.6483 | -858.8851 | -560.7399
P15 WECC MIDWAY-LOSBANOS |  |  |  | 1015.4196 | 1809.7588 | 1704.1365 | 415.6699 | 1607.7765 | 2976.6543 | 2278.2109 | -1123.5698
P16 WECC IDAHO-SIERRA |  | YES |  | -4.5709 | 193.1892 | 191.1385 | 87.6843 | 392.7745 | -286.2127 | -199.1848 | 217.9684
P17 WECC BORAH WEST | Case 5 | YES | YES | -450.0764 | 1410.744 | 2340.3032 | -753.3218 | 2788.6172 | 585.2968 | -841.2001 | -700.4547
P18 WECC MONTANA-IDAHO |  | YES | YES | 183.2751 | -148.5928 | -230.9475 | 198.2888 | -241.595 | -256.8136 | -176.2887 | 100.6612
P19 WECC BRIDGER WEST |  | YES | YES | 1437.9886 | 1644.7964 | 2287.9978 | 979.9304 | 1962.7316 | 1682.8729 | -303.7761 | 1345.031
P20 WECC PATH C |  | YES | YES | 1527.4227 | 774.4301 | 639.0612 | 964.8929 | 547.8388 | 337.7718 | 1291.1937 | 1784.8425
P22 WECC SOUTHWEST OF FOUR CORNE |  |  |  | 611.5596 | 1436.475 | 961.3604 | 875.1771 | 989.4136 | -869.428 | -629.6782 | 871.0836
P23 WECC FOUR CORNERS 345/500 QU |  |  |  | -250.7329 | 125.0883 | 8.9771 | -104.678 | 391.8461 | -299.0214 | -217.1141 | -115.3217
P24 WECC PG&E-SIERRA |  |  |  | -71.7343 | -93.1049 | -117.2864 | -84.1675 | -123.4911 | 4.9385 | -72.9415 | -62.2039
P25 WECC PACIFICORP/PG&E 115 KV |  | YES |  | 58.986 | 43.5103 | 47.9468 | 73.3797 | 66.9964 | 2.6976 | 34.6587 | 73.425
P26 WECC NORTHERN-SOUTHERN CALIF |  |  |  | 83.5324 | -1577.399 | -1269.5054 | 190.1171 | -1603.7069 | -1422.0233 | -1462.5789 | 1254.3459
P27 INTERMOUNTAIN POWER PROJECT |  | YES |  | 2156.1477 | 1656.601 | 1949.4728 | 1022.9086 | 1809.3503 | 1195.5358 | -240 | 1793.384
P28 WECC INTERMOUNTAIN-MONA 345 |  | YES |  | -1139.9985 | -884.6301 | -1139.9983 | -9.6798 | -1139.9976 | -693.2532 | 618.0609 | -1139.9988
P29 WECC INTERMOUNTAIN-GONDER 23 |  | YES |  | -86.6616 | 23.4224 | 22.6073 | 24.5281 | 125.0091 | -204.1223 | -146.6992 | -55.7736
P30 WECC TOT 1A |  | YES |  | 110.7874 | 361.5698 | 245.5791 | 68.632 | 396.4471 | -111.3371 | -351.821 | 137.0892
P31 WECC TOT 2A |  | YES |  | 54.2726 | 135.9848 | 56.3759 | 103.0611 | -57.3894 | 302.8253 | 382.3192 | 75.4291
P32 WECC PAVANT-GONDER INTERMTN- |  | YES |  | -71.0316 | 84.2909 | 90.4403 | 53.376 | 267.5881 | -235.0201 | -211.4778 | -45.9043
P33 WECC BONANZA WEST |  | YES |  | 309.7369 | 507.8523 | 436.2242 | 205.4071 | 300.5644 | -173.1418 | -410.081 | 43.4601
P35 WECC TOT 2C |  | YES |  | 28.715 | -41.3666 | 127.6191 | 116.9664 | 408.1695 | -282.1901 | -204.0454 | 256.42
P36 WECC TOT 3 |  | YES |  | 777.1945 | 358.9741 | 1138.8348 | 718.8134 | 1135.3899 | 861.7366 | 961.5441 | 1313.4445
P37 WECC TOT 4A |  | YES |  | 60.2782 | 138.1544 | 381.7939 | 54.6185 | 439.4823 | 115.0298 | -181.395 | 340.2473
P38 WECC TOT 4B |  | YES |  | -141.5111 | 59.3511 | 49.9207 | -87.1475 | -22.9873 | 143.9985 | 25.1492 | -101.5138
P39 WECC TOT 5 |  | YES |  | -293.1386 | -478.1181 | -456.3888 | 82.0095 | -928.0529 | 98.11 | 1094.1135 | -877.2574
P40 WECC TOT 7 |  | YES |  | -330.9249 | -553.4109 | 4.7304 | -224.9925 | 5.6473 | 84.8821 | 171.0955 | -146.49
P41 WECC SYLMAR TO SCE |  |  |  | -0.73415 | -272.9289 | 318.278 | 164.7659 | 189.4448 | -320.9301 | -547.3266 | -367.8815
P42 WECC IID-SCE |  |  |  | 318.0325 | 452.2794 | 486.8544 | 401.8755 | 472.3488 | 321.0917 | 346.6066 | 304.2425
P45 WECC SDG&E-CFE |  |  |  | -65.8516 | -800.1653 | -712.1472 | -768.0172 | -799.997 | -1.7681 | 163.7993 | -799.9966
P46 WECC WEST OF COLORADO RIVER |  |  |  | 5714.4946 | 9260.3467 | 9058.8984 | 7076.1489 | 8997.9229 | 4158.5352 | 6572.1494 | 5616.188
P47 WECC SOUTHERN NEW MEXICO (NM |  |  |  | 293.2915 | -149.4878 | -182.9486 | 143.7748 | -90.5783 | 268.1565 | 144.0513 | 8.0208
P48 WECC NORTHERN NEW MEXICO (NM |  |  |  | 1258.9733 | 10.6918 | -300.1889 | 958.8497 | -310.0193 | -110.9187 | -674.0668 | 347.696
P49 WECC EAST OF COLORADO RIVER |  |  |  | 707.2747 | 5655.7812 | 6606.855 | 2132.1567 | 6607.3149 | -724.5804 | -19.0187 | 2970.3242
P50 WECC CHOLLA-PINNACLE PEAK |  |  |  | 370.2962 | 450.2703 | 251.6139 | 483.7995 | 313.6441 | -175.5095 | -73.9227 | 401.7549
P51 WECC SOUTHERN NAVAJO |  |  |  | 365.6258 | -811.6895 | -1134.781 | -69.8719 | -1151.8467 | -122.8345 | -101.1853 | -194.4272
P52 WECC SILVER PEAK-CONTROL 55 |  |  |  | -1.1456 | -3.8601 | 4.6532 | -1.3384 | 5 | -5.158 | 3.0716 | 5
P54 WECC CORONADO-SILVER KING 50 |  |  |  | 466.9783 | 448.6669 | 99.1902 | 675.0282 | 203.4262 | -121.8915 | 8.7999 | 500.9093
P58 WECC ELDORADO-MEAD 230 KV LI |  |  |  | 48.1358 | -193.9585 | -81.9311 | 21.8321 | -136.4402 | -79.144 | 29.5764 | -114.9785
P59 WECC WALC BLYTHE - SCE BLYTH |  |  |  | 104.1799 | 64.1169 | 55.2764 | 108.6227 | 134.4384 | 49.4141 | 65.1059 | 116.8035
P60 WECC INYO-CONTROL 115 KV TIE |  |  |  | -50 | -49.9934 | -42.1409 | -45.0026 | -50 | -40.1684 | -47.2718 | -31.262
P61 WECC LUGO-VICTORVILLE 500 KV |  |  |  | 813.7504 | 731.1304 | 1272.287 | 802.6584 | 1233.6571 | -241.0795 | -900.0004 | 1083.77
P62 WECC ELDORADO-MCCULLOUGH 500 |  |  |  | 1278.1863 | 171.8126 | -52.9223 | 850.7216 | -67.1661 | 985.4216 | 1443.496 | 552.6931
P65 WECC PACIFIC DC INTERTIE (PD | Case 6, 8 | YES | YES | 147.0106 | -0.002 | 2.2638e-12 | 1308.6464 | 626.3479 | -3050.0012 | -2582.0273 | 2149.0002
P66 WECC COI | Case 4, 6, 8 | YES | YES | 3568.0264 | 1797.6448 | 1668.7809 | 4629.0098 | 3469.1521 | -3321.0803 | 530.374 | 4799.999
P71 WECC SOUTH OF ALLSTON |  | YES | YES | 1375.5789 | 837.8763 | 372.4694 | 1165.7458 | 397.2612 | -852.4253 | -384.9117 | 894.1677
P73 WECC NORTH OF JOHN DAY |  | YES | YES | 6082.0117 | 2878.5996 | 1054.2806 | 4825.0059 | 850.4038 | -1769.0078 | 1353.368 | 5796.4185
P75 WECC HEMINGWAY-SUMMER LAKE |  | YES |  | -230.2459 | 633.2582 | 954.76 | -309.4208 | 1450.2028 | -388.445 | -217.3387 | -4.516
P76 WECC ALTURAS PROJECT |  | YES |  | -39.8336 | -89.9803 | -128.3334 | -9.8795 | -105.5613 | -241.9323 | -213.4486 | -31.0231
P77 WECC CRYSTAL-ALLEN |  |  |  | 70.8141 | 123.7208 | 163.9662 | 97.7015 | 106.6954 | -3.7212 | -134.9855 | 105.4773
P78 WECC TOT 2B1 |  | YES |  | 51.3463 | -334.8316 | -67.8566 | 4.543 | 219.8705 | -340.6175 | -322.3147 | 150.6332
P79 WECC TOT 2B2 |  | YES |  | 34.5969 | -105.8469 | -62.238 | 36.4636 | 32.9286 | -100.2924 | -72.9301 | 61.6383
P80 WECC MONTANA SOUTHEAST |  | YES |  | 329.3427 | -152.1069 | -266.2413 | 417.2752 | -362.8295 | -191.5363 | 81.6192 | -23.4603
P82 WECC TOTBEAST |  |  |  | 1719.8896 | 46.002 | -789.7954 | 1977.2559 | -1364.049 | 554.0435 | 886.1555 | 1621.4241
P83 WECC MONTANA ALBERTA TIE LIN |  | YES |  | -152.6277 | -250.5616 | -230.4484 | -50.2002 | -263.5299 | -297.4636 | -300 | -24.3511
PTH 01 HEMINGWAY-LONGHORN |  |  |  | -1213.4081 | -86.205 | 283.619 | -1527.5208 | 435.1208 | 103.0416 | -645.8566 | -1305.6176
PTH 02 CENTRAL FERRY - LOWER MON |  |  |  | 366.1528 | 189.7921 | 217.7721 | 308.4427 | 301.7927 | 50.3816 | 246.5304 | 389.2923
PTH 03 DELANEY-PALO VERDE |  |  |  | 825.0439 | 1578.1562 | 1638.364 | 1186.5038 | 1692.9846 | 325.0776 | 446.4214 | 1315.2036
PTH 04 DELANEY-SUN VALLEY |  |  |  | 772.4031 | 519.3527 | 505.5591 | 701.4678 | 476.6025 | 685.1163 | 603.7931 | 718.6757
PTH 05 DESERT BASIN - PINAL CENT |  |  |  | 30.7316 | -185.4806 | -118.5056 | -34.0057 | -283.4436 | 120.3303 | 186.7939 | -96.7733
PTH 06 PALOVERDE - COLORADO RIVE |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PTH 07 GW CENT SIGURD-RED BUTTE |  |  |  | -145.4543 | -221.4714 | -225.5234 | -239.7677 | -343.7852 | 630.4907 | 509.9286 | -160.3459
PTH 08 GW SOUTH - SEG #2 AEOLUS- |  |  |  | 357.1207 | 375.029 | 1084.3203 | 92.108 | 1062.2924 | 708.3047 | 43.6495 | 1103.2225
PTH 09 GW SEG 1A WINDSTAR-BRIDGE |  |  |  | 194.6825 | 329.1215 | 352.593 | 127.3753 | 426.9368 | -34.0186 | -310.9775 | 221.8728
PTH 10 GW SEG1B BRIDGER-POPULUS |  |  |  | 177.5772 | 481.6866 | 1128.3712 | 114.8945 | 1039.9739 | 797.241 | -277.497 | 581.4367
PTH 11 GW SEG 1C POPULUS-BORAH |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PTH 12 GW SEG E MIDPOINT-HEMINGW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PTH 14 I-5 REFORCE CASTLE ROCK-T |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PTH 14 IDAHO TO NORTHWEST WB2H | Case 4, 8 | YES - ZZ add | YES | -1759.6884 | 798.709 | 1453.2378 | -2249.9988 | 2218.2451 | -83.1872 | -887.1204 | -1590.8192
PTH 15 INTERIOR-LOWER MAINLAND |  |  |  | 2088.5876 | 2431.3354 | 1167.9049 | 1603.619 | 1277.7124 | 884.2431 | 1241.8481 | 1285.9398
PTH 16 MORGAN-SUN VALLEY |  |  |  | -563.6021 | -392.8488 | -409.9831 | -522.2213 | -401.051 | -555.7078 | -489.877 | -528.2871
PTH 17 NORTHWEST TL |  |  |  | 312.9015 | 190.1241 | 260.4447 | 313.0136 | 276.7108 | 192.9352 | 199.3965 | 451.5258
PTH 19 P8 UPGRADE |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PTH 20 PINAL CENTRAL-TORTOLITA |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PTH 21 PW PINAL CENTRAL-BROWNING |  |  |  | 402.0193 | 290.2337 | 104.1363 | 437.7292 | 222.0757 | 90.6283 | 213.5435 | 367.8093
PTH 23 WALLULA-MCNARY |  |  |  | 36.0946 | -7.4193 | 66.4992 | 2.4308 | 85.7427 | -53.0929 | 110.7386 | 97.7418
PTH 5575 TOTBEAST WB2H |  |  |  | 2907.5999 | 48.3172 | -1152.8318 | 3502.6746 | -1817.3584 | 400.7477 | 1507.6522 | 2885.2378
PTH ATC _IPP DC POLE BALANCING |  |  |  | -3.8506 | -0.60225 | -5.4743 | -9.0908 | -9.3517 | 10.001 | 10 | 6.6147
PTH ATC _PDCI DC POLE BALANCING |  |  |  | -10 | 0 | 0.002 | 10 | 10 | -9.9975 | -10.0013 | 10
PTH AZPS XY AZ-CA |  |  |  | 792.8604 | 661.7628 | 835.2858 | 505.563 | 823.6389 | 367.5803 | 592.0947 | 672.8317
PTH BPA COLUMBIA INJECTION |  |  |  | -934.1521 | -812.9886 | -428.2971 | -760.2891 | -265.0848 | -252.1733 | -553.5565 | -835.238
PTH BPA NET COB (NW AC INTERTIE) |  |  |  | 3568.0264 | 1797.6448 | 1668.7809 | 4629.0098 | 3469.1521 | -3321.0803 | 530.374 | 4799.999
PTH BPA NORTH OF ECHO LAKE |  |  |  | -315.4714 | 618.5304 | 724.3215 | 78.4784 | 583.1971 | 1842.8107 | 1915.6565 | 645.8417
PTH BPA NORTH OF HANFORD |  | YES - ZB add |  | 2396.0706 | 510.3455 | -943.6557 | 1693.7985 | -1160.3016 | -3204.6013 | -1552.3528 | 1703.2542
PTH BPA NORTHWEST AC INTERTIE (N |  |  |  | 3528.1926 | 1707.6653 | 1540.4476 | 4619.1309 | 3363.5911 | -3563.0122 | 316.9256 | 4768.9761
PTH BPA PAUL-ALLSTON |  |  |  | 910.6037 | 92.3001 | -147.2876 | 700.3397 | -60.5202 | -666.2852 | -209.8685 | 920.6588
PTH BPA RAVER-PAUL |  |  |  | 1086.8842 | 654.9585 | 145.5434 | 812.9644 | -44.975 | -21.8614 | 486.2992 | 1061.9417
PTH BPA SOUTH OF BOUNDARY |  |  |  | 776.7473 | 468.6791 | 47.4534 | 620.3431 | 308.4642 | 131.9183 | 404.5287 | 827.8867
PTH BPA SOUTH OF CUSTER |  |  |  | 1441.9824 | 690.1354 | 160.424 | 677.2639 | 91.7789 | -1243.606 | -1466.0415 | -224.0792
PTH BPA WEST OF JOHN DAY |  | YES - ZB add |  | 949.2457 | 1396.6444 | 1371.704 | 1785.9686 | 1564.2319 | 523.8511 | 513.7817 | 2361.8069
PTH BPA WEST OF LOWER MONUMENTAL |  |  |  | 1745.7334 | 934.2231 | 921.8777 | 1417.9734 | 1062.3197 | 527.8063 | 1454.5912 | 2023.9805
PTH BPA WEST OF MCNARY |  | YES - ZB add |  | 597.1705 | 1227.3729 | 1499.5458 | 775.7925 | 1946.3169 | -406.2136 | 72.6991 | 638.2047
PTH BPA WEST OF SLATT |  | YES - ZB add |  | 1633.3799 | 1360.3098 | 1334.2898 | 1939.8394 | 1455.7267 | -392.9102 | 612.2607 | 2035.3353
PTH IPC MIDPOINT WEST |  | YES - ZB add |  | -527.0206 | 387.0921 | 869.5555 | -625.6493 | 941.8452 | 549.5123 | -342.0572 | -759.0663
PTH LADWP IPP DC SOUTH |  |  |  | 2156.1477 | 1656.601 | 1949.4728 | 1022.9086 | 1809.3503 | 1195.5358 | -240 | 1793.384
PTH LADWP PDCI SOUTH |  |  |  | 147.0106 | -0.002 | -2.7509e-11 | 1308.6464 | 626.3479 | -3050.0012 | -2582.0273 | 2149.0002
PTH PAC AEOLUS SOUTH | Case 3 | YES - ZB add | YES | 357.1207 | 375.029 | 1084.3203 | 92.108 | 1062.2924 | 708.3047 | 43.6495 | 1103.2225
PTH PAC AEOLUS WEST | Case 3 | YES - ZZ add | YES | 0.14969 | 762.8819 | 2462.5945 | 265.9176 | 2412.5183 | 1833.3483 | -151.001 | 1774.2933
PTH PAC XY WY-UT |  |  |  | 501.9272 | 410.6263 | 164.8011 | 402.2219 | 86.1979 | -15.6513 | -26.3949 | 166.1695
PTH SRP PALO VERDE EAST |  |  |  | 5381.1411 | 3770.6707 | 3480.7739 | 5207.0088 | 3277.5176 | 4831.2114 | 4474.1123 | 5242.6187