## Slide 1: Sample-Selection of Hours for NorthernGrid Regional Study
Kishore Patel, Zach Zones Zach Beus and Curtis Westhoff and members
09/10/2020

## Slide 2: 2030 Calendar

## Slide 3: Heavy Summer (1)
Heavy Summer (Tuesday & Monday) -LOAD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Date | Hour | Month | WECC | NorthernGrid | NG West | NG East | AVA | BPAT | CHPD | DOPD | GCPD | PACW | PGE | PSEI | SCL | TPWR | IPCO | PACE | NWMT
Jul 30 | 16 | 7 | 179,501.8 | 44,420.3 | 27,589.0 | 16,831.3 | 2,134.9 | 10,162.3 | 280.7 | 333.3 | 1,480.5 | 3,932.3 | 3,840.1 | 3,916.7 | 1,233.6 | 607.8 | 4,347.6 | 10,731.6 | 1,752.0
Jul 30 | 17 | 7 | 178,821.2 | 43,973.0 | 27,436.5 | 16,536.5 | 2,134.0 | 10,046.5 | 280.7 | 338.3 | 1,482.5 | 3,898.3 | 3,846.2 | 3,921.8 | 1,223.6 | 602.8 | 4,259.7 | 10,417.8 | 1,859.0
Aug 05 | 15 | 8 | 172,420.0 | 44,468.6 | 26,561.2 | 17,907.4 | 2,185.6 | 9,740.1 | 268.3 | 323.0 | 1,476.0 | 3,594.4 | 3,615.9 | 3,857.5 | 1,227.7 | 595.7 | 4,535.8 | 11,410.6 | 1,961.0
Aug 05 | 16 | 8 | 172,893.9 | 44,806.1 | 26,882.9 | 17,923.3 | 2,215.7 | 9,900.7 | 269.3 | 326.0 | 1,476.1 | 3,613.7 | 3,695.2 | 3,890.7 | 1,227.8 | 593.7 | 4,615.1 | 11,335.2 | 1,973.0
Aug 05 | 17 | 8 | 172,756.3 | 44,740.1 | 26,995.5 | 17,744.7 | 2,206.7 | 9,896.8 | 272.1 | 322.9 | 1,475.7 | 3,618.7 | 3,766.1 | 3,933.9 | 1,232.0 | 593.4 | 4,657.1 | 11,116.6 | 1,971.0
Aug 05 | 18 | 8 | 169,883.7 | 44,236.2 | 26,969.3 | 17,267.0 | 2,189.5 | 9,943.8 | 265.0 | 327.8 | 1,471.1 | 3,539.1 | 3,766.3 | 3,976.6 | 1,223.9 | 594.0 | 4,646.5 | 10,676.5 | 1,944.0
Heavy Summer (Tuesday & Monday) -GENERATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Date | Hour | Month | WECC | NorthernGrid | NG West | NG East | AVA | BPAT | CHPD | DOPD | GCPD | PACW | PGE | PSEI | SCL | TPWR | IPCO | PACE | NWMT
Jul 30 | 16 | 7 | 179,501.8 | 45,296.7 | 30,463.6 | 14,833.0 | 2,110.3 | 16,975.2 | 770.5 | 305.4 | 612.1 | 3,295.9 | 2,527.7 | 2,689.2 | 1,041.8 | 441.1 | 3,064.9 | 10,402.4 | 1,365.7
Jul 30 | 17 | 7 | 178,822.0 | 44,309.3 | 29,937.2 | 14,372.1 | 2,078.2 | 16,781.8 | 760.6 | 301.4 | 602.4 | 3,019.4 | 2,519.0 | 2,716.7 | 1,029.4 | 429.8 | 2,983.3 | 9,947.0 | 1,441.8
Aug 05 | 15 | 8 | 172,419.9 | 43,131.7 | 27,058.8 | 16,072.9 | 1,825.2 | 14,385.1 | 616.8 | 247.4 | 507.8 | 3,363.0 | 3,006.1 | 2,488.9 | 591.5 | 274.3 | 2,553.0 | 12,356.7 | 1,163.2
Aug 05 | 16 | 8 | 172,894.0 | 44,318.4 | 27,514.2 | 16,804.2 | 1,846.1 | 14,800.6 | 635.8 | 254.6 | 525.4 | 3,021.3 | 2,998.9 | 2,820.7 | 591.5 | 273.9 | 2,596.4 | 13,047.1 | 1,160.6
Aug 05 | 17 | 8 | 172,756.1 | 43,420.4 | 27,793.4 | 15,627.0 | 1,843.6 | 14,910.8 | 636.1 | 254.4 | 524.9 | 3,166.5 | 2,994.3 | 2,848.4 | 594.4 | 274.3 | 2,512.0 | 11,965.3 | 1,149.7
Aug 05 | 18 | 8 | 169,883.8 | 43,810.4 | 28,768.8 | 15,041.6 | 1,860.7 | 15,121.0 | 641.6 | 255.9 | 530.0 | 3,769.4 | 2,976.8 | 3,007.9 | 589.7 | 271.8 | 2,568.4 | 11,278.6 | 1,194.7
Heavy Summer (Tuesday & Monday) -HYDRO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Date | Hour | Month | WECC | NorthernGrid | NG West | NG East | AVA | BPAT | CHPD | DOPD | GCPD | PACW | PGE | PSEI | SCL | TPWR | IPCO | PACE | NWMT
Jul 30 | 16 | 7 | 41,677.6 | 21,262.7 | 18,815.8 | 2,446.9 | 961.2 | 12,269.0 | 1,462.0 | 684.4 | 1,513.2 | 424.4 | 486.6 | 236.6 | 1,027.3 | 435.3 | 1,753.2 | 209.8 | 484.0
Jul 30 | 17 | 7 | 41,928.9 | 20,977.0 | 18,542.3 | 2,434.7 | 941.8 | 12,087.6 | 1,442.6 | 676.4 | 1,490.1 | 415.1 | 489.0 | 236.2 | 1,015.7 | 424.1 | 1,728.6 | 211.7 | 494.4
Aug 05 | 15 | 8 | 31,237.4 | 15,019.7 | 13,188.0 | 1,831.7 | 642.4 | 8,609.3 | 1,174.8 | 554.2 | 1,254.0 | 270.3 | 260.4 | 129.8 | 577.4 | 269.6 | 1,239.7 | 149.8 | 442.2
Aug 05 | 16 | 8 | 33,049.8 | 15,331.5 | 13,495.4 | 1,836.1 | 655.0 | 8,840.1 | 1,211.8 | 570.3 | 1,298.5 | 243.5 | 269.8 | 130.1 | 577.6 | 268.9 | 1,249.2 | 140.0 | 446.9
Aug 05 | 17 | 8 | 34,054.3 | 15,430.9 | 13,553.4 | 1,877.4 | 653.9 | 8,843.2 | 1,212.2 | 570.6 | 1,298.6 | 281.9 | 282.3 | 130.9 | 581.2 | 269.3 | 1,274.3 | 153.5 | 449.7
Aug 05 | 18 | 8 | 34,099.9 | 15,436.7 | 13,604.1 | 1,832.6 | 636.2 | 8,901.1 | 1,223.6 | 574.4 | 1,313.3 | 270.3 | 283.0 | 132.4 | 577.4 | 266.8 | 1,243.2 | 162.7 | 426.7

## Slide 4: Heavy Summer (2)
Heavy Summer (Tuesday & Monday) -THERMAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Date | Hour | Month | WECC | NorthernGrid | NG West | NG East | AVA | BPAT | CHPD | DOPD | GCPD | PACW | PGE | PSEI | SCL | TPWR | IPCO | PACE | NWMT
Jul 30 | 16 | 7 | 71,843.0 | 16,963.8 | 8,587.0 | 8,376.9 | 855.7 | 3,905.5 | 0.0 | 0.0 | 0.0 | 814.0 | 1,682.8 | 1,324.4 | 4.6 | 0.0 | 595.6 | 7,223.6 | 557.7
Jul 30 | 17 | 7 | 80,197.7 | 17,072.2 | 8,695.3 | 8,376.9 | 855.7 | 3,905.5 | 0.0 | 0.0 | 0.0 | 897.0 | 1,682.8 | 1,349.8 | 4.6 | 0.0 | 595.6 | 7,223.6 | 557.7
Aug 05 | 15 | 8 | 73,451.2 | 17,039.1 | 8,660.3 | 8,378.9 | 855.7 | 3,909.0 | 0.0 | 0.0 | 0.0 | 1,084.0 | 1,841.7 | 965.3 | 4.6 | 0.0 | 595.6 | 7,219.8 | 563.4
Aug 05 | 16 | 8 | 75,372.0 | 17,330.9 | 8,952.1 | 8,378.9 | 855.7 | 3,909.0 | 0.0 | 0.0 | 0.0 | 1,084.0 | 1,841.7 | 1,257.1 | 4.6 | 0.0 | 595.6 | 7,219.8 | 563.4
Aug 05 | 17 | 8 | 83,276.4 | 17,330.9 | 8,952.1 | 8,378.9 | 855.7 | 3,909.0 | 0.0 | 0.0 | 0.0 | 1,084.0 | 1,841.7 | 1,257.1 | 4.6 | 0.0 | 595.6 | 7,219.8 | 563.4
Aug 05 | 18 | 8 | 92,928.3 | 17,800.8 | 9,181.9 | 8,618.9 | 855.7 | 3,909.0 | 0.0 | 0.0 | 0.0 | 1,167.0 | 1,841.7 | 1,403.9 | 4.6 | 0.0 | 595.6 | 7,459.9 | 563.4
Heavy Summer (Tuesday & Monday) -WIND |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Date | Hour | Month | WECC | NorthernGrid | NG West | NG East | AVA | BPAT | CHPD | DOPD | GCPD | PACW | PGE | PSEI | SCL | TPWR | IPCO | PACE | NWMT
Jul 30 | 16 | 7 | 9,401.7 | 1,127.9 | 180.8 | 947.1 | 5.3 | 88.1 | 0.0 | 0.0 | 0.0 | 6.3 | 2.0 | 79.2 | 0.0 | 0.0 | 53.1 | 595.8 | 298.1
Jul 30 | 17 | 7 | 10,273.2 | 1,229.1 | 224.8 | 1,004.3 | 8.5 | 97.7 | 0.0 | 0.0 | 0.0 | 12.7 | 4.9 | 101.0 | 0.0 | 0.0 | 61.6 | 571.9 | 370.8
Aug 05 | 15 | 8 | 9,587.5 | 5,553.6 | 3,524.4 | 2,029.2 | 42.2 | 2,159.8 | 0.0 | 0.0 | 0.0 | 297.5 | 579.2 | 445.7 | 0.0 | 0.0 | 25.5 | 1,883.6 | 120.2
Aug 05 | 16 | 8 | 12,455.0 | 7,338.1 | 3,895.8 | 3,442.4 | 47.5 | 2,473.4 | 0.0 | 0.0 | 0.0 | 329.7 | 562.6 | 482.5 | 0.0 | 0.0 | 119.3 | 3,205.8 | 117.3
Aug 05 | 17 | 8 | 13,545.8 | 7,222.5 | 4,189.5 | 3,033.1 | 47.7 | 2,677.2 | 0.0 | 0.0 | 0.0 | 377.0 | 556.8 | 530.7 | 0.0 | 0.0 | 143.5 | 2,779.3 | 110.3
Aug 05 | 18 | 8 | 13,312.4 | 7,740.4 | 4,493.0 | 3,247.4 | 54.8 | 2,902.0 | 0.0 | 0.0 | 0.0 | 433.0 | 553.8 | 549.4 | 0.0 | 0.0 | 284.2 | 2,774.4 | 188.9
Heavy Summer (Tuesday & Monday) -SOLAR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Date | Hour | Month | WECC | NorthernGrid | NG West | NG East | AVA | BPAT | CHPD | DOPD | GCPD | PACW | PGE | PSEI | SCL | TPWR | IPCO | PACE | NWMT
Jul 30 | 16 | 7 | 28,207.6 | 1,422.3 | 294.4 | 1,127.9 | 0.0 | 3.7 | 0.0 | 0.0 | 0.0 | 272.7 | 17.6 | 0.5 | 0.0 | 0.0 | 269.2 | 843.8 | 14.9
Jul 30 | 17 | 7 | 22,198.6 | 1,122.7 | 287.1 | 835.6 | 0.0 | 3.0 | 0.0 | 0.0 | 0.0 | 267.8 | 14.5 | 1.7 | 0.0 | 0.0 | 209.4 | 614.0 | 12.2
Aug 05 | 15 | 8 | 29,351.7 | 2,051.9 | 370.7 | 1,681.2 | 0.0 | 4.0 | 0.0 | 0.0 | 0.0 | 344.0 | 19.5 | 3.2 | 0.0 | 0.0 | 294.3 | 1,370.8 | 16.1
Aug 05 | 16 | 8 | 25,626.6 | 1,665.3 | 308.7 | 1,356.6 | 0.0 | 3.5 | 0.0 | 0.0 | 0.0 | 284.8 | 17.4 | 3.0 | 0.0 | 0.0 | 238.3 | 1,104.2 | 14.1
Aug 05 | 17 | 8 | 19,636.0 | 1,205.0 | 260.0 | 945.0 | 0.0 | 2.9 | 0.0 | 0.0 | 0.0 | 241.1 | 14.3 | 1.8 | 0.0 | 0.0 | 112.2 | 821.3 | 11.5
Aug 05 | 18 | 8 | 11,497.9 | 683.6 | 173.6 | 510.0 | 0.0 | 1.5 | 0.0 | 0.0 | 0.0 | 161.7 | 9.9 | 0.5 | 0.0 | 0.0 | 67.1 | 437.0 | 5.9

## Slide 5: Heavy Summer (3)
Heavy Summer (Tuesday & Monday) -INTERFACE -1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Date | Hour | Month | DateTime | P05 WECC West of Cascades-South | P06 WECC West of Hatwai | P08 WECC Montana to Northwest | P14 WECC Idaho to Northwest | P16 WECC Idaho-Sierra | P17 WECC Borah West | P19 WECC Bridger West | P20 WECC Path C | P27 Intermountain Power Project DC Line | P28 WECC Intermountain-Mona 345 kV | P30 WECC TOT 1A | P31 WECC TOT 2A | P32 WECC Pavant-Gonder InterMtn-Gonder 230 kV | P35 WECC TOT 2C | P65 WECC Pacific DC Intertie (PDCI) | P66 WECC COI
Jul 30 | 16 | 7 | Jul 30, Hr15 | 3,847.1 | (293.1) | (699.2) | (314.4) | (64.7) | 95.5 | 1,503.9 | 772.0 | 2,162.9 | (1,141.6) | 426.3 | 35.0 | (60.3) | 4.5 | 414.0 | 2,192.1
Jul 30 | 17 | 7 | Jul 30, Hr16 | 3,819.2 | (257.5) | (636.5) | (333.0) | (78.0) | 142.7 | 1,411.8 | 670.6 | 1,968.0 | (923.0) | 365.7 | 67.5 | (51.3) | 6.7 | 486.0 | 1,696.8
Aug 05 | 15 | 8 | Aug 05, Hr14 | 4,115.5 | (1,021.7) | (851.6) | (484.6) | (292.3) | 549.7 | 1,660.3 | 466.4 | 1,638.9 | (497.2) | 114.9 | 189.2 | (97.1) | 38.6 | 10.0 | 624.9
Aug 05 | 16 | 8 | Aug 05, Hr15 | 4,262.7 | (908.7) | (726.2) | (288.5) | (215.2) | 960.9 | 1,766.9 | 536.5 | 1,701.0 | (610.0) | 177.0 | 155.7 | (48.7) | 111.5 | 610.0 | 730.7
Aug 05 | 17 | 8 | Aug 05, Hr16 | 4,349.2 | (896.9) | (707.6) | (377.2) | (153.1) | 1,043.8 | 1,378.1 | 654.6 | 1,205.8 | (138.1) | 175.0 | 169.7 | (16.7) | 61.7 | 486.0 | 869.6
Aug 05 | 18 | 8 | Aug 05, Hr17 | 4,138.1 | (1,070.7) | (862.8) | (833.9) | (8.3) | 344.5 | 1,465.7 | 903.2 | 1,428.7 | (352.6) | 99.4 | 137.5 | (11.4) | 99.9 | 352.9 | 907.5
Heavy Summer (Tuesday & Monday) -INTERFACE -2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Date | Hour | Month | DateTime | P71 WECC South of Allston | P73 WECC North of John Day | P75 WECC Hemingway-Summer Lake | P78 WECC TOT 2B1 | P79 WECC TOT 2B2 | P80 WECC Montana Southeast | P83 WECC Montana Alberta Tie Line | Pth 01 Hemingway-Longhorn | Pth 02 Central Ferry - Lower Monumental | Pth 07 GW Cent Sigurd-Red Butte | Pth 08 GW South - Seg #2 Aeolus-Mona | Pth 09 GW Seg 1A Windstar-Bridger | Pth 10 GW Seg1B Bridger-Populus | Pth 11 GW Seg 1C Populus-Borah | Pth 12 GW Seg E Midpoint-Hemingway | Pth BPA Columbia Injection
Jul 30 | 16 | 7 | Jul 30, Hr15 | 1,356.6 | 4,684.0 | (254.8) | (97.6) | 23.4 | 39.4 | (167.9) | 0.0 | 225.5 | 21.9 | 4.3 | 92.2 | 166.4 | 0.0 | 0.0 | (944.8)
Jul 30 | 17 | 7 | Jul 30, Hr16 | 1,387.2 | 4,783.5 | (144.1) | (102.3) | 2.0 | (90.9) | (230.5) | 0.0 | 236.5 | (2.2) | 179.7 | 260.0 | 313.5 | 0.0 | 0.0 | (936.4)
Aug 05 | 15 | 8 | Aug 05, Hr14 | 984.8 | 2,004.1 | (309.6) | (123.2) | 16.3 | (171.6) | (184.3) | 0.0 | 76.6 | 233.3 | 239.0 | 51.2 | 622.2 | 0.0 | 0.0 | (681.4)
Aug 05 | 16 | 8 | Aug 05, Hr15 | 994.1 | 2,114.8 | (144.4) | (58.7) | 26.3 | (302.9) | (189.3) | 0.0 | 89.7 | 107.2 | 527.3 | 76.7 | 857.9 | 0.0 | 0.0 | (716.9)
Aug 05 | 17 | 8 | Aug 05, Hr16 | 1,000.6 | 2,063.5 | (193.5) | (123.3) | 11.6 | (231.6) | (89.5) | 0.0 | 89.8 | 1.6 | 248.8 | 160.1 | 524.5 | 0.0 | 0.0 | (706.5)
Aug 05 | 18 | 8 | Aug 05, Hr17 | 963.5 | 2,098.3 | (504.1) | 15.3 | 40.6 | (153.6) | (182.1) | 0.0 | 72.2 | (196.2) | 533.2 | 53.6 | 613.6 | 0.0 | 0.0 | (684.8)
Heavy Summer (Tuesday & Monday) -INTERFACE -3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Date | Hour | Month | DateTime | Pth BPA Net COB (NW AC Intertie) | Pth BPA North of Echo Lake | Pth BPA North of Hanford | Pth BPA Northwest AC Intertie (NWACI) | Pth BPA Paul-Allston | Pth BPA Raver-Paul | Pth BPA South of Boundary | Pth BPA South of Custer | Pth BPA West of John Day | Pth BPA West of Lower Monumental | Pth BPA West of McNary | Pth BPA West of Slatt | Pth IPC Midpoint West | Pth PAC Aeolus South | Pth PAC Aeolus West
Jul 30 | 16 | 7 | Jul 30, Hr15 | 2,005.9 | (59.5) | 1,725.7 | 1,882.7 | 590.2 | 821.6 | 777.5 | 1,168.3 | 971.6 | 1,300.5 | 760.6 | 1,391.1 | (406.6) | 4.3 | 69.7
Jul 30 | 17 | 7 | Jul 30, Hr16 | 2,192.1 | (119.0) | 1,779.3 | 2,085.4 | 618.5 | 839.7 | 779.5 | 1,254.8 | 1,225.7 | 1,326.1 | 885.2 | 1,468.1 | (224.1) | 179.7 | 279.0
Aug 05 | 15 | 8 | Aug 05, Hr14 | 624.9 | 281.2 | 244.2 | 410.8 | 146.3 | 471.5 | 474.8 | 966.9 | 2,000.5 | 482.5 | 403.1 | 1,158.6 | 148.4 | 239.0 | 840.5
Aug 05 | 16 | 8 | Aug 05, Hr15 | 730.7 | 287.1 | 262.2 | 526.2 | 189.1 | 516.9 | 474.9 | 954.0 | 2,360.5 | 539.3 | 808.8 | 1,306.2 | 387.5 | 527.3 | 1,397.0
Aug 05 | 17 | 8 | Aug 05, Hr16 | 869.6 | 344.7 | 217.6 | 692.3 | 171.8 | 509.1 | 475.7 | 880.0 | 2,317.8 | 538.9 | 775.1 | 1,326.4 | 338.4 | 248.8 | 890.1
Aug 05 | 18 | 8 | Aug 05, Hr17 | 907.5 | 357.9 | 308.2 | 828.7 | 144.9 | 497.7 | 474.8 | 850.3 | 2,091.5 | 485.6 | 558.1 | 1,325.9 | 101.7 | 533.2 | 1,102.3

## Slide 6: Heavy Winter (1)
Heavy Winter (Wednesday & Thursday) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Date | Hour | Month | WECC | NorthernGrid | NG West | NG East | AVA | BPAT | CHPD | DOPD | GCPD | PACW | PGE | PSEI | SCL | TPWR | IPCO | PACE | NWMT
Dec 12 | 8 | 12 | 139,484.3 | 44,187.0 | 31,942.3 | 12,244.7 | 2,244.1 | 12,704.0 | 452.3 | 423.0 | 1,446.2 | 4,039.4 | 3,659.9 | 5,008.4 | 1,490.1 | 897.8 | 2,827.8 | 7,494.9 | 1,922.0
Dec 12 | 9 | 12 | 144,189.6 | 45,266.7 | 33,034.0 | 12,232.6 | 2,347.7 | 13,084.4 | 465.7 | 433.3 | 1,462.4 | 3,966.8 | 3,871.6 | 5,291.3 | 1,614.4 | 929.7 | 2,803.2 | 7,515.5 | 1,914.0
Dec 12 | 10 | 12 | 143,434.3 | 44,327.4 | 32,322.2 | 12,005.2 | 2,303.6 | 12,786.2 | 451.7 | 420.3 | 1,417.4 | 3,835.6 | 3,811.5 | 5,199.1 | 1,603.3 | 913.7 | 2,723.0 | 7,400.2 | 1,882.0
Dec 11 | 8 | 12 | 138,651.3 | 44,078.5 | 31,800.5 | 12,278.1 | 2,262.5 | 12,636.9 | 434.1 | 409.9 | 1,420.6 | 4,053.2 | 3,658.6 | 4,957.5 | 1,487.8 | 889.3 | 2,777.6 | 7,541.5 | 1,959.0
Dec 11 | 19 | 12 | 151,522.3 | 44,252.7 | 31,293.8 | 12,958.9 | 2,386.1 | 11,924.2 | 393.3 | 377.0 | 1,373.3 | 3,763.5 | 3,845.0 | 5,142.5 | 1,583.1 | 882.8 | 2,733.8 | 8,194.1 | 2,031.0
Dec 11 | 20 | 12 | 152,533.7 | 44,315.3 | 31,490.4 | 12,824.9 | 2,356.7 | 12,039.5 | 400.7 | 376.3 | 1,381.4 | 3,768.8 | 3,873.7 | 5,193.3 | 1,585.4 | 890.7 | 2,735.2 | 8,059.6 | 2,030.0
Dec 11 | 21 | 12 | 151,106.8 | 43,875.7 | 31,334.6 | 12,541.1 | 2,324.3 | 12,022.5 | 398.1 | 377.5 | 1,382.5 | 3,743.0 | 3,844.1 | 5,154.0 | 1,576.6 | 889.6 | 2,730.4 | 7,826.7 | 1,984.0