## Sheet1
Comment | Submitter | Category | Comment | Response
1 | CRTS, Corey Kupersmith | Technical Finding | CRTS appreciates the transparency of the NorthernGrid process and the hard work of Members in developing the D-RTP. Driven largely by renewable public policy and other critical trends, the Pacific Northwest’s energy mix is expected to enter a period of historic change, which makes the creation of NorthernGrid and execution of its intended objectives particularly valuable. | Thank you for the response
2 | CRTS, Corey Kupersmith | Technical Finding | The importance of NorthernGrid’s efforts is underscored by recent events and ongoing trends. The passage of groundbreaking public policy -- the Clean Energy Transformation Act (“CETA”) in Washington, requiring 80% renewable electricity supply by 2030, and HB 2021 in Oregon, also requiring 80% renewable electricity supply by 2030 -- will accelerate regional decarbonization and expedite a significant build-out of renewable energy generation during this NorthernGrid cycle’s planning horizon of 2030. At the same time, as the D-RTP was in development, wildfires and record heat waves have highlighted the critical importance of infrastructure resiliency and the need for robust, long-term, transmission planning to adequately serve customers as the impacts of climate change continue to reverberate throughout the region. | Thank you for the response
3 | CRTS, Corey Kupersmith | Technical Finding | As the D-RTP states, “The objective of the planning process is to identify the projects that more cost effectively or efficiently meet the needs of the NorthernGrid members in a 10-year future.” All stakeholders and interested parties would certainly agree that projecting anything, let alone regional energy loads and resources, 10 years into the future is riddled with uncertainty. For that reason, the quality and credibility of the D-RTP is strongly dependent upon the assumptions used to make it. We are concerned that public policy requirements, Member planning documents, and recent system load data paint a different picture than that drawn in the NorthernGrid Study Scope . Without robust Study Scope assumptions that are aligned with actual data, events, and evident trends, identifying the projects that will meet actual Member needs in the future becomes that much more difficult. | The transmission needs of NorthernGrid are identified through the consolidation of data submittals from its members. Those data submittals formed the basis for the assumptions that were identified in the Study Scope and approved by the NorthernGrid members. The process also requires participating members to submit updated data in the fifth quarter of the eight-quarter planning cycle. Upon receiving the updated data in the fifth quarter, a determination is made if the study scope needs to be updated or analyses re-run to incorporate the updated data. NorthernGrid members with transmission projects that have been initiated by public policy would include those projects in their first or fifth quarter data submittal. Member planning documents “paint a different picture”… “than that drawn in the NorthernGrid Study Scope”. The term “member planning documents” covers a much broader spectrum of potential analyses than the NorthernGrid analysis. Utilities are obligated perform planning on multiple platforms to provide for their customers, a few (non-exhaustive) examples include: reliability planning, capacity planning, resource planning, and often there is planning at both the transmission and distribution levels. The transmission decisions that come out of the numerous local planning efforts are included in the data submittals of each of the utilities and in this fashion, the regional planning process is well situated to focus on the larger footprint. The regional planning process is focused on identifying the facilities needed to reliably meet the transmission obligations of the collective NorthernGrid footprint and assumes the local planning effort has addressed local reliability, capacity, and resource planning concerns. “Recent system load” does get captured, though this experience has shown that the changes to load forecasts weren’t large enough to substantiate making changes to the analyses or process. Changes to system load are systematically captured in the regional planning process with data being submitted in both the first and fifth quarters. Utilities update their load forecasts on an annual basis, if not more. A simple example is the COVID pandemic of 2020: each utility submitted their load forecast data to NorthernGrid by the end of March, 2020. The load forecasts are typically developed on the load from the previous year, so in this instance, the load forecast submitted in the first quarter of this planning cycle did not account for any changes due to the pandemic. The changes to the local load forecast came about in 2021, when utilities developed load forecasts based on usage in 2020, which captures the changes due to the pandemic. The members submitted updated load forecast data in March of 2021.
4 | CRTS, Corey Kupersmith | Technical Finding | CRTS understands that Study Scope assumptions are determined earlier in the Planning Cycle. That said, if new transmission is necessary to meet the 2030 public policy requirements established in CETA and HB 2021, losing two years between the current Planning Cycle and the upcoming 2022-2023 Planning Cycle to establish that fact could be highly detrimental to meeting the requirements and needs of 2030 and beyond. Given the unprecedented change to the Pacific Northwest’s energy mix that is already underway, load and resource assumptions used to develop the D-RTP appear to be both meaningfully outdated and insufficient for satisfying public policy requirements. The performance of a sensitivity analysis in this Planning Cycle would strengthen the Study and add weight and relevance to the Draft Plan. | Please see response to Comment 3 to address how NorthernGrid reflects topology changes driven by poblic policy. NorthernGrid is not mandated to check whether the submitted meets public policy requirements. NorthernGrid performed the analyis per the Study Scope. Each planning process begins with the development and approval of the Study Scope into which Sensitivity Studies have the opportunity to be included.
5 | CRTS, Corey Kupersmith | Describe | CRTS continues to be concerned that Public Policy requirements and Integrated Resource Plan (“IRP”) preferred resource plans, specifically in Oregon and Washington, have not been accounted for in Member data submittals. | Please see response to Comment 3.
6 | CRTS, Corey Kupersmith | Describe | Currently, in the NorthernGrid modeling, PSE is assumed to add a mere 137 MW of new resources by 2030, and PGE is assumed to add 350 MW of new resources. These projects, the Skookumchuck wind farm and the Wheatridge Renewable Energy Facility respectively, are in construction or already operational -- meaning that no new renewable energy projects are studied as coming online throughout the rest of the decade. However, substantially more projects will need to be built by 2030 for these Members to meet their public policy requirements. PSE’s Final 2021 IRP, which for the first time incorporates the impacts of CETA, plans for the procurement of ~1,800 MW of utility scale solar and wind through 2030 to meet its public policy requirements[1]. This new renewable generation capacity is not reflected in the Study Scope and is in addition to the 137 MW project submitted to NorthernGrid. In testimony to HB 2021, PGE stated it will need 1,700 MW of new renewables, in addition to Wheatridge’s 350 MW modeled in the Study Scope, to meet its public policy requirements with the passage of HB 2021[2]. Thus, taken together, NorthernGrid new resource assumptions are ~3,500 MW short of what PGE and PSE alone will need to procure through 2030 to meet their public policy requirements. The majority of this ~3,500 MW of new resources will be constructed east of the Cascades, as evidenced by BPA, PSE, and PGE generator interconnection requests. As PSE states in their 2021 IRP, “[I]n the long term, the Pacific Northwest transmission system may need significant expansion, optimization and possible upgrades to keep pace. The main areas of high-potential renewable development are east of the Cascades (Washington and Oregon), in the Rocky Mountains (Montana, Wyoming), in the desert southwest (Nevada, Arizona) and in California.[3]” To fully meet its stated objective, NorthernGrid should determine in this Planning Cycle if the existing transmission system is sufficient to deliver to load these new resources, needed for Members to meet their public policy requirements, and if not, where any constraints exist . | Please see responses to Comments 3 and 4
7 | CRTS, Corey Kupersmith | Describe | We understand that PSE’s Final IRP was not complete when the Study Scope was finalized and that HB 2021 is not yet included in PGE’s IRP. Regardless, we are concerned with how far apart the Study Scope assumptions are to the current planning reality. This divergence creates risk for customers and utilities by hindering the development of projects that can meet these imminent Member needs, and exacerbates the risk that by the time a transmission need is identified, it will be too late. CRTS is also concerned that Member peak load assumptions used to create the D-RTP do not fully account for recent climate related events and long-term growth trends. Three major trends are driving general load growth and peak demand for Oregon and Washington utilities. The first is industrial demand driven primarily by data centers and other high-tech industry. The second is record heat waves, occurring with increasing frequency due to climate change, which also accelerate the adoption of air conditioning by utility customers. The last is the electrification of buildings and transportation, both of which will see long-term public policy driven growth. PGE’s 2030 peak summer load assumptions are a good example of the gap between NorthernGrid assumptions and independent data sources. NorthernGrid’s Study Scope uses a 2030 peak summer load assumption for PGE of 3,949 MW. PGE’s Local Transmission Plan assumptions and system data from the record June heatwave highlight a substantially different need. In PGE’s 2020 Near Term Local Transmission Plan, PGE studied a summer peak system load in 2030 of 4,711 MW, over 750 MW greater than the load studied by NorthernGrid[1]. During the recent heatwave, PGE twice set new peak load records, with the highest of 4,441 MW on June 28th, 2021, a peak demand ~500 MW greater than that studied by NorthernGrid[2]. Clearly, it is difficult to project the need for projects to meet PGE’s future peak loads if load assumptions are flawed or outdated. | Please see response to Comments 3 and 4.
8 | CRTS, Corey Kupersmith | Describe | All the important work completed to date in the inaugural NorthernGrid Planning Cycle could be undermined if these efforts stop short of considering alternative scenarios that may better reflect current public policy realities and ongoing trends. We respectfully suggest that running a sensitivity analysis would provide very meaningful information regarding the potential to achieve the 2030 public policy requirements and determine if any significant transmission constraints exist: The sensitivity would reflect an incremental 3,500 MW of new renewable resources being constructed by 2030. In this sensitivity, we would propose using PGE peak summer demand of 4,711 MW, which is used in their own local transmission studies. We suggest the resources be modeled to reflect the production characteristics of 1,000 MW of Wyoming wind, 800 MW of Montana wind, 1,000 MW of Columbia Gorge wind and 700 MW of eastern Oregon solar. In order to minimize the modeling complexities and the implications which may stem from other system constraints, we suggest the resources are assumed delivered to Mid-C. CRTS believes this sensitivity will help the stakeholders of NorthernGrid to understand the transmission implications, particularly on WECC Paths 4, 5, and 71 of meeting the current public policy requirements. We note that nothing in NorthernGrid’s approved tariff would prevent the inclusion of such a sensitivity in the D-RTP, and further believe that doing so could materially enhance its credibility and relevance to the planning efforts of its Members, the states, and the region as a whole. | Please see responses to Comments 3 and 4
9 | NWEC, Fred Huette | General | The NW Energy Coalition (NWEC) appreciates the opportunity to provide these comments. We view the draft as making solid progress in the first planning cycle following the consolidation of Northern Tier Transmission Group and ColumbiaGrid into NorthernGrid. Our recommendations fall into two categories: additions of summary tables that would substantially improve the final report, and early consideration of factors that should be incorporated into the next planning cycle in 2022-2023.
10 | NWEC, Fred Huette | Editorial | We recommend the inclusion of several summary tables in the final report to document the findings more completely and provide helpful context for readers: In the main text: • A table summarizing all transmission expansion projects studied, including the owner/proponent, end point substations or locations, voltage, approximate distance and MW capacity, and estimated year of entry into service. • A table summarizing the full list of all regional combinations (RC) and their variants, showing which projects are included with each RC and any additional distinguishing details. Even Figure 12 showing ranked contingency results contains “the entire set of results for the majority of the combinations considered” and is not apparently complete. Also, if all base cases were not run for each RC, the ones that were used should also be indicated. In an appendix: • A table for each of the 8 Planning Cycle base cases showing, for each RC studied, the results for the contingency analysis (number of high/low voltage and thermal violations and the overall totals). • A table for each of the 8 Planning Cycle base cases showing, for each RC studied, the results from the production cost analysis, including overall production cost and other useful metrics such as unserved energy, CO2 emissions and utilization rates for key paths. | 1. Table summarizing all transmission expansion projects studied. This table exists in the Study Scope as "Data Table A5: NorthernGrid Projected Transmission". The Study scope is an Appendix to this report. 2. Table summarizing all regional combinations as well as visuals. This information is provided in an Appendix to the report and will be updated to include all regional combinations. 3. In an appendix, contingency results for BLMP broken down by 8 stress conditions. Agreed; great suggestion. Plots will be produced and added to the report. 4. The primary use of the production cost model, as identified in the study scope, is to define the system loading and conditions of interest in order to build the base cases needed to assess the reliability of the transmission system. The reliability planning assessment is then performed on a powerflow model that represents a moment in time and a determination made as to what transmission upgrades need to be made to ensure reliability. While production cost models do provide the capability for additional analyses such as CO2 emissions and utilization rates for key paths over a period of time, these are not within the scope of the study but might instead be part of project-specific evaluations that occur as part of the detailed planning and design process.
11 | NWEC, Fred Huette | Open Topic | NWEC recognizes that NorthernGrid members and stakeholders have devoted considerable time to developing a new study plan, reviewing data submissions, preparing assumptions and making other adjustments necessary to run the modeling for the 2020-2021 Regional Transmission Plan. With the draft report now in hand and the next planning cycle starting in a matter of months, we offer the following observations on enhancements that should be considered to substantially improve the “actionable information” in the 2022-2023 Regional Transmission Plan. State and federal policy. It will be important for NorthernGrid to be nimble in the next planning cycle to incorporate ongoing policy changes relevant to regional transmission planning. Rulemaking continues for existing policies such as the Clean Energy Transformation Act (CETA) in Washington, and significant changes will be coming from the Climate Commitment Act (CCA) in Washington and the 100% Clean Energy law (HB 2021) adopted by Oregon earlier this year. In addition, Congress is considering a Clean Energy Standard along with other relevant legislation. And both Congress and FERC are considering reforms that may directly affect Order 1000 regional transmission planning. In addition to preparation of the initial Study Plan in 2022, NorthernGrid should consider a more robust update to the Study Plan in early 2023 to accommodate ongoing changes. Additional scenarios and sensitivities. In the next cycle, NorthernGrid should consider studying a wider range of scenarios and sensitivities based on the ongoing changes in the regional demand pattern and resource mix: • Climate impacts. Two events this summer illustrate the rapidly changing context for the bulk electric system in the NorthernGrid footprint. On June 26-28, an unprecedented heat wave raised demand to historically high levels for multiple utilities. And less than two weeks later, wildfire smoke caused outages on three lines of the AC Intertie (California-Oregon Intertie), leading to a 90% reduction in path capacity and a precautionary reduction of more than 50% of capacity on the DC Intertie. Furthermore, this occurred in a context of a low water year in the west, with reduced hydropower output across the region. There are indications that climate change has already been resulting in more variability of aggregate demand patterns and the performance of hydro and other renewable resources, and will continue at a more rapid pace in the near future. These occurrences suggest additional sensitivities for studying correlated impacts on the bulk electric system beyond the set of standard contingencies currently being considered. • Gas-electric interface. Events of the last several years also highlight the increased vulnerability of the NorthernGrid footprint to price and supply disruptions for gas transportation used by natural gas power plants. • Transportation and building electrification. Significant changes to regional demand shapes are anticipated over the next decade from new sources of load. A further important question is whether such new loads will be actively shaped for both economic reasons and to reduce reliability risks. • Market development. Numerous efforts are underway to improve economic dispath and reliability through extension or development of new markets in the Western Interconnection. Consideration should be given to modeling different development approaches and provide important feedback to those development efforts. • Modeling of inverter based resources. The rapid uptake of inverter based resources, for example in wind, solar and battery storage facilities, requires further consideration of both the challenges and the opportunities offered by resources interfacing with the grid through power electronics. • Location of new renewable resources. In the past, transmission expansion has generally focused on well-delineated development areas. Going forward, the capability of new renewable resources is rapidly improving and economically viable development can occur across a wider landscape, which is also beneficial for resource diversity and performance. In the next cycle, NorthernGrid should consider where new transmission might most effectively be placed to capture the value of more diverse renewables, particularly offshore wind. • Storage as a transmission asset. With the rapidly declining cost of battery storage and the maturation of several pumped storage projects, NorthernGrid should consider the potential benefits of transmission-related storage in enhancing the reliability and carrying capacity of the existing system and optimizing transmission expansion.
12 | NWEC, Fred Huette | Open Topic | NWEC recognizes that NorthernGrid members and stakeholders have devoted considerable time to developing a new study plan, reviewing data submissions, preparing assumptions and making other adjustments necessary to run the modeling for the 2020-2021 Regional Transmission Plan. With the draft report now in hand and the next planning cycle starting in a matter of months, we offer the following observations on enhancements that should be considered to substantially improve the “actionable information” in the 2022-2023 Regional Transmission Plan. State and federal policy. It will be important for NorthernGrid to be nimble in the next planning cycle to incorporate ongoing policy changes relevant to regional transmission planning. Rulemaking continues for existing policies such as the Clean Energy Transformation Act (CETA) in Washington, and significant changes will be coming from the Climate Commitment Act (CCA) in Washington and the 100% Clean Energy law (HB 2021) adopted by Oregon earlier this year. In addition, Congress is considering a Clean Energy Standard along with other relevant legislation. And both Congress and FERC are considering reforms that may directly affect Order 1000 regional transmission planning. In addition to preparation of the initial Study Plan in 2022, NorthernGrid should consider a more robust update to the Study Plan in early 2023 to accommodate ongoing changes. Additional scenarios and sensitivities. In the next cycle, NorthernGrid should consider studying a wider range of scenarios and sensitivities based on the ongoing changes in the regional demand pattern and resource mix: • Climate impacts. Two events this summer illustrate the rapidly changing context for the bulk electric system in the NorthernGrid footprint. On June 26-28, an unprecedented heat wave raised demand to historically high levels for multiple utilities. And less than two weeks later, wildfire smoke caused outages on three lines of the AC Intertie (California-Oregon Intertie), leading to a 90% reduction in path capacity and a precautionary reduction of more than 50% of capacity on the DC Intertie. Furthermore, this occurred in a context of a low water year in the west, with reduced hydropower output across the region. There are indications that climate change has already been resulting in more variability of aggregate demand patterns and the performance of hydro and other renewable resources, and will continue at a more rapid pace in the near future. These occurrences suggest additional sensitivities for studying correlated impacts on the bulk electric system beyond the set of standard contingencies currently being considered. • Gas-electric interface. Events of the last several years also highlight the increased vulnerability of the NorthernGrid footprint to price and supply disruptions for gas transportation used by natural gas power plants. • Transportation and building electrification. Significant changes to regional demand shapes are anticipated over the next decade from new sources of load. A further important question is whether such new loads will be actively shaped for both economic reasons and to reduce reliability risks. • Market development. Numerous efforts are underway to improve economic dispath and reliability through extension or development of new markets in the Western Interconnection. Consideration should be given to modeling different development approaches and provide important feedback to those development efforts. • Modeling of inverter based resources. The rapid uptake of inverter based resources, for example in wind, solar and battery storage facilities, requires further consideration of both the challenges and the opportunities offered by resources interfacing with the grid through power electronics. • Location of new renewable resources. In the past, transmission expansion has generally focused on well-delineated development areas. Going forward, the capability of new renewable resources is rapidly improving and economically viable development can occur across a wider landscape, which is also beneficial for resource diversity and performance. In the next cycle, NorthernGrid should consider where new transmission might most effectively be placed to capture the value of more diverse renewables, particularly offshore wind. • Storage as a transmission asset. With the rapidly declining cost of battery storage and the maturation of several pumped storage projects, NorthernGrid should consider the potential benefits of transmission-related storage in enhancing the reliability and carrying capacity of the existing system and optimizing transmission expansion. | Please see responses to Comments 3 and 4. Hopefully, this process has made it abundantly clear the need and importance for every member to fully engage with the planning process. NorthernGrid looks forward to the 2022-2023 planning cycle with the opportunity to implement the lessons learned throughout the first NorthernGrid planning process.