## State Comment Table
Comment Number | Submitter | Page Number(s) | Line Number(s) | Comment | Theme | Proposed Response | Discussion
1 | OPUC | 2 | 23 | A brief clarification that you are referring to a stress condition would be helpful. For example, "were selected as stress conditions." Otherwise it is unclear what winter and summer is selected for. | Describe | New language added to Executive Summary.
2 | OPUC | 2 | 31 | Please provide clarification as to why only 230 kV lines and above were considered. | Describe | New language added to Executive Summary.
3 | OPUC | 3 | 54 | Consider a page break here or move Table of Contents to the beginning. | Editorial Comments | Will move ToC to top of page as part of the final editing process.
4 | OPUC | 5 | Map | Please consider a color key for the study area map. | Editorial Comments | Graph will be updated. Comment added in report.
5 | OPUC | 6 | 153 | The sentence at the end of the paragraph has no end and does not seem to continue on the next page. | Editorial Comments | May be a glitch in the conversion. Sentence has an ending in the report that references Table 1 using automatic cross-reference feature. Will ensure final version has full sentence.
6 | OPUC | 8 | 197-198 | The standard of cost effectiveness should be described in additional detail. | Describe
7 | OPUC | 9 | 214 | Please clarify the 500kV vs. 525 kV assumptions for all graphs and throughout the report. There was some discussion about this at the August 6 meeting. | Describe/Graphics | Footnote added to page 2 to describe that the report will use 500 kV nomenclature
8 | OPUC | 9 | 219-220 | Please provide additional clarity regarding how Members arrived at the regional combinations and how areas of interest to the region were determined. It would be helpful to gain an understanding of the criteria the Members use to choose certain projects -- was this information taken from IRPs? Is it institutional history? Are there some reasons obvious to engineers that might be clarified for laypeople? | Describe/Technical Findings | Language added to "Base Cases" | Go back to the team that developed the combinations they did.
9 | OPUC | 10 | 233 | Some clarification on the following terms would be really helpful--these may be terms obvious to the planners but less so to others: - Main configurations - Natural groupings - Main paths | Describe | No changes to the report. Not defined terms.
10 | OPUC | 10 | 236 | Please provide clarification on what a violation is -- what are the various types of violations, and why they are ranked differently. Why are certain violations more concerning than others? | Describe/Technical Findings | New language added to the first paragraph in the Contingencies section to explain what cons are and why thermal more concerning than voltage. Also more language in Analysis Results: trying to add more clarity on why we chose the ranking factors we chose
11 | OPUC | 10 | 242-246 | This last sentence is a little difficult to follow as it progresses. Consider simplifying the language. | Editorial Comments | Agreed. Sentence changed.
12 | OPUC | 10 | 242-243 | Consider removing the first sentence | Editorial Comments | Removed.
13 | OPUC | 11 | 252 | Some clarification on the changes from the last regional plan would be very helpful. For example, the antelope projects selected in the last regional plan are no longer included here. Are these in service? An update on what changes have occurred since the last plan would be really informative. | Describe/Overview | Sentence added after Secion "Regional Projects" Two sentences added to "Antelope to Goshen 345 kV line" section. Will ask the Technical Subcommittee for more explanation as well.
14 | OPUC | 11 | 257 | The Bowmont and Bowmont to Hubbard lines are not on the map and are new to the discussion, so some additional context here would be helpful. | Describe | Sentence added to "Boradman to Hemingway Transmission Line Project (B2H)"
15 | OPUC | 12 | 266 | Spelling on "Populus." | Editorial Comments | Fixed
16 | OPUC | 12 | 274 | Consider turning the links and text at the beginning of each project into sentences. For example, "See this link to learn more about the Cross-Tie Transmission Project." | Editorial Comments
17 | OPUC | 13 | 311 | Please clarify whether these are Non-Incumbent Regional Projects as the projects above are also non-incumbent projects. | Describe | Sentence added just after Figure 6.
18 | OPUC | 14 | 318 | A map of all lines in this section, or a small map outlining where the path would be for each one would be helpful. | Editorial Comments | Figure 6 displays all interregional and non-incumbent regional projects.
19 | OPUC | 14 | 329-331 | The last sentence has some run-ons. It should probably be split into two sentences to be clearer to the reader. | Editorial Comments | Sentence split into two.
20 | OPUC | 14 | Figure 4 | In this and following graphs, does the y axis represent number of violations? Meaning that the shortest bar would represent the highest rank? If so (or not), some clarification of these graphs would be helpful to understand the rankings, in addition to some clarification on why certain violations are given priority over others. | Describe/Technical Findings | No, they represent the ranked contingency results; ranked results have no known unit. Language changed just before Figure 7.
21 | OPUC | 16 | 377 | Please clarify whether this intends to say that the Wyoming wind, Idaho-Northwest, and Borah-West stress conditions were applied to regional combinations {03, 04, 05, 27}? | Describe/Technical Findings | THIS NEEDS WORK
22 | OPUC | 17 | 383-385 | Consider omitting this paragraph as it is repetitive. | Editorial Comments | Removed.
23 | OPUC | 17 | 383 | Space needed between "0" and "b" | Editorial Comments | Paragraph removed; comment no longer relevant
24 | OPUC | 17 | 383 | Does XXXX refer to Figure 10? | Editorial Comments | Paragraph removed; comment no longer relevant
25 | OPUC | 17 | 391 | Spelling error on "combination." | Editorial Comments | Fixed
26 | OPUC | 17 | 392 | Does XXXX refer to Figure 10? | Editorial Comments | Paragraph removed; comment no longer relevant
27 | OPUC | 17 | 404 | Further on in the report, it looks like there were combinations of incumbent and nonincumbent projects analyzed together, but this paragraph makes it sound as if the single transmission projects must be analyzed alone without the assistance of the regional incumbent projects. Please clarify how the analysis was conducted. | Describe/Overview | Paragraph added right under "Interregional and Non-Incumbent Regional" section title
28 | Utah DPU | 4 | 96 | This should be either "comprises" or "is composed of". | Editorial Comments | Went with "is composed of"
29 | Utah DPU | 12 | 261 | It would be helpful to have a brief explanation of what the guidance was that makes it part of the larger project. | Describe | Need to get language from Pacificorp | Go back to PAC
30 | Utah DPU | 14 | Figure 7 | I think it would be helpful to label this as "Ranked Contingency Violation Results..." to make it more clear that the numbers on the table represent violations. | Editorial Comments | Sentence added to "Analysis Results" to describe that all con results will be ranked
31 | Utah DPU | 16 | 380 | Negligible is misspelled here. | Editorial Comments | Fixed.
32 | Utah DPU | 17 | 383 | Insert a space here after "Figure 10." Also, correct the Figure XXXX reference later on the line and further down the page. | Editorial Comments | Paragraph removed; comment no longer relevant
33 | Utah DPU | 20 | Figure 13 | I think there should be much more explanation of the deviations from RC03. I don't see an explanation of the changes in voltage from the modeled combination. If it is somewhere else, it should also be here. Was there modeling of the effects of the voltage changes? If so, what did it reveal relative to RC03 as modeled? | Describe/Technical Findings | Language added
34 | WA UTC | 5 | 110-115 | A description of the basis/source of the members identified transmission needs (i.e., IRPs), recognizing the age of the data, and that state policy guidance has changed and may not be reflected in all IRPs used for the study scope. | Describe/Overview | New section added, "The Regional Trasnsmission Plan" | Not something we've specifically requested in the data submission. Will have to work with the submitting members. More of the story. Plan feels "out of touch" with reality. Needs to be more than "this came from IRPs". Why it may be lacking a view to that policy guidance. What this Plan Is. What this Plan Isn't. What that Plan can become. Discussion of natural time lag. Policies have changed. Need to go through IRP to implement that policy. Describe the chain of how that process works. Acknowledge that this process time "lags" the representative change. More clarity (Paul): not just what define as stress. What are the implications of stress. Sense of urgency/sense of importance.
35 | WA UTC | 5 | 117-120 | Identify known issues with WECC's Anchor data set (weather data does not reflect changing climate) and explain, maybe in a footnote the coming changes to the modelling/data set. | Describe/Overview | Language added to Base Case Development | modeling issues inherent to transmission topology. Provide the list of opportunities we provided to WECC.
36 | WAUTC | 14 | 319-322 | Sentence states no proposed generation associated with the line. Wasn't there a proposed pumped storage facility in this location? Was the proposal withdrawn? More discussion would be helpful here. | Describe | No change; report already indicates that no new generation resources were submitted with the project | Change "proposed" to "submitted"
interregional projects are identified under FERC 1000. Falls under interregional portion of the Attachment K
Reactive switching: reason why voltage not as scary as thermal

## Describe
Comment Number | Submitter | Page Number(s) | Line Number(s) | Comment | Theme | Discussion August 20
1 | OPUC | 2 | 23 | A brief clarification that you are referring to a stress condition would be helpful. For example, "were selected as stress conditions." Otherwise it is unclear what winter and summer is selected for. | Describe
2 | OPUC | 2 | 31 | Please provide clarification as to why only 230 kV lines and above were considered. | Describe
6 | OPUC | 8 | 197-198 | The standard of cost effectiveness should be described in additional detail. | Describe
9 | OPUC | 10 | 233 | Some clarification on the following terms would be really helpful--these may be terms obvious to the planners but less so to others: - Main configurations - Natural groupings - Main paths | Describe
14 | OPUC | 11 | 257 | The Bowmont and Bowmont to Hubbard lines are not on the map and are new to the discussion, so some additional context here would be helpful. | Describe
17 | OPUC | 13 | 311 | Please clarify whether these are Non-Incumbent Regional Projects as the projects above are also non-incumbent projects. | Describe
29 | Utah DPU | 12 | 261 | It would be helpful to have a brief explanation of what the guidance was that makes it part of the larger project. | Describe
36 | WAUTC | 14 | 319-322 | Sentence states no proposed generation associated with the line. Wasn't there a proposed pumped storage facility in this location? Was the proposal withdrawn? More discussion would be helpful here. | Describe

## DescribeGraphics
Comment Number | Submitter | Page Number(s) | Line Number(s) | Comment | Theme | Discussion August 20
7 | OPUC | 9 | 214 | Please clarify the 500kV vs. 525 kV assumptions for all graphs and throughout the report. There was some discussion about this at the August 6 meeting. | Describe/Graphics

## Describe Overview
Comment Number | Submitter | Page Number(s) | Line Number(s) | Comment | Theme | Discussion August 20
13 | OPUC | 11 | 252 | Some clarification on the changes from the last regional plan would be very helpful. For example, the antelope projects selected in the last regional plan are no longer included here. Are these in service? An update on what changes have occurred since the last plan would be really informative. | Describe/Overview
27 | OPUC | 17 | 404 | Further on in the report, it looks like there were combinations of incumbent and nonincumbent projects analyzed together, but this paragraph makes it sound as if the single transmission projects must be analyzed alone without the assistance of the regional incumbent projects. Please clarify how the analysis was conducted. | Describe/Overview
34 | WA UTC | 5 | 110-115 | A description of the basis/source of the members identified transmission needs (i.e., IRPs), recognizing the age of the data, and that state policy guidance has changed and may not be reflected in all IRPs used for the study scope. | Describe/Overview
35 | WA UTC | 5 | 117-120 | Identify known issues with WECC's Anchor data set (weather data does not reflect changing climate) and explain, maybe in a footnote the coming changes to the modelling/data set. | Describe/Overview

## Describe Technical Findings
Comment Number | Submitter | Page Number(s) | Line Number(s) | Comment | Theme | Discussion August 20
8 | OPUC | 9 | 219-220 | Please provide additional clarity regarding how Members arrived at the regional combinations and how areas of interest to the region were determined. It would be helpful to gain an understanding of the criteria the Members use to choose certain projects -- was this information taken from IRPs? Is it institutional history? Are there some reasons obvious to engineers that might be clarified for laypeople? | Describe/Technical Findings
10 | OPUC | 10 | 236 | Please provide clarification on what a violation is -- what are the various types of violations, and why they are ranked differently. Why are certain violations more concerning than others? | Describe/Technical Findings
20 | OPUC | 14 | Figure 4 | In this and following graphs, does the y axis represent number of violations? Meaning that the shortest bar would represent the highest rank? If so (or not), some clarification of these graphs would be helpful to understand the rankings, in addition to some clarification on why certain violations are given priority over others. | Describe/Technical Findings
21 | OPUC | 16 | 377 | Please clarify whether this intends to say that the Wyoming wind, Idaho-Northwest, and Borah-West stress conditions were applied to regional combinations {03, 04, 05, 27}? | Describe/Technical Findings
33 | Utah DPU | 20 | Figure 13 | I think there should be much more explanation of the deviations from RC03. I don't see an explanation of the changes in voltage from the modeled combination. If it is somewhere else, it should also be here. Was there modeling of the effects of the voltage changes? If so, what did it reveal relative to RC03 as modeled? | Describe/Technical Findings

## Editorial
Comment Number | Submitter | Page Number(s) | Line Number(s) | Comment | Theme | Discussion August 20
3 | OPUC | 3 | 54 | Consider a page break here or move Table of Contents to the beginning. | Editorial Comments
4 | OPUC | 5 | Map | Please consider a color key for the study area map. | Editorial Comments
5 | OPUC | 6 | 153 | The sentence at the end of the paragraph has no end and does not seem to continue on the next page. | Editorial Comments
11 | OPUC | 10 | 242-246 | This last sentence is a little difficult to follow as it progresses. Consider simplifying the language. | Editorial Comments
12 | OPUC | 10 | 242-243 | Consider removing the first sentence | Editorial Comments
15 | OPUC | 12 | 266 | Spelling on "Populus." | Editorial Comments
16 | OPUC | 12 | 274 | Consider turning the links and text at the beginning of each project into sentences. For example, "See this link to learn more about the Cross-Tie Transmission Project." | Editorial Comments
18 | OPUC | 14 | 318 | A map of all lines in this section, or a small map outlining where the path would be for each one would be helpful. | Editorial Comments
19 | OPUC | 14 | 329-331 | The last sentence has some run-ons. It should probably be split into two sentences to be clearer to the reader. | Editorial Comments
22 | OPUC | 17 | 383-385 | Consider omitting this paragraph as it is repetitive. | Editorial Comments
23 | OPUC | 17 | 383 | Space needed between "0" and "b" | Editorial Comments
24 | OPUC | 17 | 383 | Does XXXX refer to Figure 10? | Editorial Comments
25 | OPUC | 17 | 391 | Spelling error on "combination." | Editorial Comments
26 | OPUC | 17 | 392 | Does XXXX refer to Figure 10? | Editorial Comments
28 | Utah DPU | 4 | 96 | This should be either "comprises" or "is composed of". | Editorial Comments
30 | Utah DPU | 14 | Figure 7 | I think it would be helpful to label this as "Ranked Contingency Violation Results..." to make it more clear that the numbers on the table represent violations. | Editorial Comments
31 | Utah DPU | 16 | 380 | Negligible is misspelled here. | Editorial Comments
32 | Utah DPU | 17 | 383 | Insert a space here after "Figure 10." Also, correct the Figure XXXX reference later on the line and further down the page. | Editorial Comments